## HP/Agilent 8595E Features

  Perform complex tests simply and quickly with measurement personalities that support applications like cable TV/broadcast, component test, electromagnetic compatibility, lightwave, and wireless communications

  Four slot cardcage

  Split screen display

  One-button measurement routines

  Advanced measurement functions

  Dual interfaces

  Built-in tracking generator

## HP/Agilent 8595E Standard Accessories

| Part Number | Description | Qty |
| --- | --- | --- |
| 08590-90234 | User's Guide | 1 |
| 08594-90106 | Calibration Guide | 1 |
|  | Power Cord | 1 |
| 0950-1964 | Memory Card | 1 |
| 9222-1545 | Memory Card Holder | 1 |
| 1250-0780 | N-BNC Adapter | 1 |
| 1250-0076 | BNC-BNC Adapter | 1 |
| 1250-1499 | Reference Connector | 1 |
| 8120-2682 | 50-Ohm BNC Cable | 1 |

OPTIONS***

| Option | description |
| --- | --- |
| 004 | Precision Frequency Reference |
| 009 | LO and Sweep, plus Tune Outputs on Rear Panel |
| 010 | 50-Ohm, 9 kHz to 2.9 GHz tracking generator |
| 012 | DECT Source |
| 021 | HP-IB Interface |
| 023 | RS-232 Interface |
| 024 | Parallel Printer Interface |
| 040 | Front Panel Protective Cover w/Storage |
| 041 | GPIB and Parallel Interfaces |
| 043 | RS-232 and Parallel Interfaces |
| 050 | Improved Amplitude Accuracy for NADC |
| 051 | Improved Amplitude Accuracy for PDC |
| 052 | Improved Amplitude Accuracy for PHS |
| 053 | Improved Amplitude Accuracy for CDMA |
| 101 | Fast Time Domain Sweeps |
| 102 | AM/FM Demod w/speaker and TV Sync Trigger |
| 103 | Quasi-Peak Detector, AM/FM Demod w/Speaker |
| 105 | Time-Gated Spectrum Analysis |
| 107 | TV Receiver/Video Tester |
| 110 | CT-2 Demodulator Card |
| 111 | Group Delay Measurement Card |
| 112 | DECT Demodulator Card |
| 119 | Noise Figure Card |
| 130 | Narrow Resolution Bandwidths |
| 140 | Narrow Resolution Bandwidths & Precision Frequency Reference |
| 151 | Digital Demod Downconverter/Fast ADC |
| 160 | Mobile Comm F/W & DSP for option 151 |
| 161 | NADC-TDMA Firmware ROM for option 151 |
| 162 | PDC Firmware for option 151 |
| 163 | GSM/DCS DSP F/W Board for option 151 |
| 180 | TV Picture on Screen |
| 301 | TV Sync, Fast-Time Domain Sweeps, AM/FM |
| 711 | 50/75-Ohm Matching Pad with DC Block |
| 908 | Rackmount Kit without Handles |
| 909 | Rackmount Kit with Handles |
| 910 | Additional Manual Set |
| 915 | Service Manual and Component Level Information |
| 0B0 | Delete Manual Set |

*** The above list of options represents commonly found options. Units available from Global Test Equipment may have a combination of these options. Contact Us for detailed information about the options available on the units in stock.